THE PRESBYTERIAN CENTER

EMERGENCY PROCEDURES MANUAL

PREPARED BY:

BUILDING SERVICES

The purpose of this manual is to provide you with emergency procedures and safety features in effect at the Presbyterian Center. To prepare yourself for an emergency, please read this manual. After you have read this manual, please keep it in a place where it is readily accessible for reference.

Should you have any questions about the facility or its operation, contact Building Services (502) 569-5625 or building Security (502) 569-5010.

January 1, 2024

# EMERGENCY ACCESS LIST

FOR POLICE, FIRE AND AMBULANCE DIAL	911

BUILDING SERVICES	569-5625

(General maintenance and repair services are available, including heating, cooling, plumbing, housekeeping, picture hanging.)

BUILDING SECURITY	569-5010

(To verify any situation or report information.)

ESCORT SERVICE	569-5010

(A security escort will be available to any employee or visitor within a four-block area of the building. Please call ahead if possible.)

EMPLOYEE INFORMATION LINE	569-8000

(Building Hours, Severe Weather closings)

WITHERSPOON GARAGE	580-6145

(Problems with parking cards, contact Building Services.)

LOUISVILLE METRO POLICE DEPARTMENT/FIRST DIVISION	…………….574-2111 or 574-7167

TABLE OF CONTENTS

EMERGENCY ACCESS LIST	2

INTRODUCTION	4

GENERAL INFORMATION	5

ACTIVE SHOOTER IN BUILDING	6

BOMB THREATS	9

CHEMICAL LEAK	11

CIVIL DISBURBANCE	12

EARTHQUAKES	13

ELEVATORS	15

EVACUATION	16

FIRE ALARM	17

FIRE EVACUATION	18

FIRE EXTINGUISHERS	20

FIRE PROCEDURES	20

INJURIES/ACCIDENTS/MEDICAL AID	21

POWER FAILURE	22

SEVERE WEATHER CONDITIONS	23

SEVERE WEATHER PROCEDURES	25

WORKPLACE VIOLENCE/WEAPONS IN THE WORKPLACE	26

CONCLUSION	27

# INTRODUCTION

The purpose of this manual is to create the organization and procedures necessary to deal with any foreseeable emergency posing a threat to the safety of our employees, tenants, and property.

Volunteer safety monitors work closely with Building Services on safety matters. A current list of safety monitors, and employees certified in CPR/AED, is on CenterNet.  It is imperative that you become familiar with the emergency equipment in and around your area, as well as emergency exits. Floor plans outlining this information are found next to bulletin boards in kitchen areas on the west side of the building, and near restroom areas on the east side of the building.

Notify building Security at once of any emergency. To respond during an emergency:

- Stay calm.

- Be patient.

- Follow the procedures and guidance in this Manual.

- Follow the instructions of floor monitors and local emergency and law enforcement officials.

- Check those near you for injuries, call for aid if needed, supply any help you are comfortable giving. Wait for emergency personnel to arrive to take over the scene.

We suggest that you review the following general emergency procedures designed for various types of emergencies that could occur in the building.

# GENERAL INFORMATION

This manual has information concerning actions to take if there is an emergency within the Presbyterian Center. It will help to support you in responding promptly, and in an organized manner, to any emergency that may arise.

The Presbyterian Center was designed with your comfort, security, and safety in mind. The following information highlights some of the life support systems in the Presbyterian Center:

1.	Automatic sprinkler fire suppression system, supplied by city water pressure, throughout the building.

2.  	Two emergency power generators.

3.	Building automation system with the following prioritized groups:

a.  	Fire

b.  	Security

c.  	HVAC

d. 	Energy Management System

4.	Security staff and maintenance staff are on call twenty-four hours a day, seven days a week.

5.	Automatic smoke dampers (activated by manual fire alarm pull boxes), smoke detectors, and flow detectors in the sprinkler system.

The rest of this manual is divided into sections by title, such as Bomb Threats, Evacuation, Fire. Please read carefully and be certain you understand the instructions provided for you. If you have any questions, please contact Building Services (502) 569-5625 or building Security (502) 569-5010.

# ACTIVE SHOOTER IN BUILDING

Profile of an active shooter:

- According to the U.S. Department of Homeland Security (DHS), an Active Shooter is an individual actively engaged in killing or attempting to kill people in a confined and populated area; in most cases, active shooters use firearm(s) and there is no pattern or method to their selection of victims.

- Active shooter situations are unpredictable and evolve quickly. Such incidents can happen anywhere, at any time. The triggers for such incidents could be personal anger, ideology, revenge, mental illness, or many other different reasons. Typically, the immediate deployment of law enforcement is required to stop the shooting and mitigate harm to victims.

- Because active shooter situations are often over within 10 to 15 minutes, before law enforcement arrives on the scene, individuals must be prepared both mentally and physically to deal with an active shooter situation.

How to respond when an active shooter is in your vicinity:

- Quickly determine the most reasonable way to protect your own life. Remember that visitors are likely to follow the lead of employees during an active shooter situation.

- RUN

    - If there is an accessible escape path, attempt to evacuate the premises.  Be sure to:

    - Have an escape route and plan in mind.

    - Take note of the two nearest exits in any facility you visit.

    - Evacuate regardless of whether others agree to follow.

    - Leave your belongings behind.

    - Help others escape, if possible.

    - Prevent people from entering the premises.

    - Call 911 when it is safe to do so.

- HIDE

    - If evacuation is not possible, find a place to hide where the active shooter is less likely to find you.

    - Your hiding place should be out of the active shooter’s view.

    - Provide protection if shots are fired in your direction. If you are in an office, stay there and secure the door. If you are in a hallway, get into a room and secure the door.

    - Not trap you or restrict your options for movement.

To prevent an active shooter from entering your hiding place:

    - Lock and/or blockade the door with heavy furniture.

    - Be Silent! Put your cell phone on silent mode immediately. A ringer or vibration will give away your location.

    - Turn off any source of noise (i.e., radios, televisions).

    - Hide behind large objects (i.e., cabinets, desks).

    - Remain very quiet.

If evacuation and hiding out are not possible:

- Remain calm.

- Call 911 when it is safe to do so.

- If you cannot speak, leave the line open and allow the dispatcher to listen.

- FIGHT

- As a last resort, and only if your life is in danger, attempt to incapacitate the shooter.

- Act with physical aggression.

- Improvise weapons.

- Yell at him or her and throw things and use any physical force available/possible to stop the shooter and defend yourself or others.

- Commit to your actions.

When a law enforcement officer arrives:

- Remain calm and follow the officers’ instructions.

- Put down any items in your hands that you are carrying.

- Immediately raise your hands and spread your fingers.

- Always keep your hands visible.

- Avoid making quick movements toward officers such as holding on to them for safety.

- Avoid pointing, screaming and/or yelling.

- Do not stop to ask officers for help or directions when evacuating, just proceed in the direction from which officers are entering the premises.

Information to provide to law enforcement or the 911 operator:

- Location of the active shooter.

- Number of shooters, if more than one.

- Physical description of shooter/s.

- Number and type of weapons held by shooters.

- Number of potential victims at the location.

- The first officers to arrive at the scene will not stop to help injured persons. Expect rescue teams comprised of additional officers and emergency medical personnel to follow the initial officers. These rescue teams will treat and remove any injured persons. They may also call upon able-bodied individuals to assist in removing the wounded from the premises.

- Once you have reached a safe location or an assembly point you will likely be held in that area by law enforcement until the situation is under control and all witnesses have been identified and questioned. Do not leave until law enforcement authorities have instructed you to do so.

Generally, in an emergency, Building Services will broadcast a message over the building Emergency Notification System. However, some emergencies such as active shooter/aggressor situations will require you to evacuate on your own.

# BOMB THREATS

If a telephoned bomb threat:

  - Remain calm.

  - Keep the caller talking and in a polite and calm manner, try to obtain and record, the following information:

- Location of the bomb?

- Time set to go off.

- What kind of bomb is it?

- Does it have a time or remote-control detonator?

- Purpose of planting the bomb?

- Where are you calling from?

- Whom do you stand for?

- Who are you?

- Description of caller’s voice:

Male or Female

Young, Middle-Aged, Old

Accent

Speech obstacle or peculiar voice characteristics, such as stutter, drunk, Etc.

Attitude (calm, excited)

Background noises (music, factory machinery, voices)

If possible, pass a note or email a co-worker to contact the police 911 at once. Also contact building Security (502) 569-5010. They will help law enforcement with evacuation and with notifying employees when it is safe to return to the building.

If a suspicious item is found:

- DO NOT TOUCH ANY SUSPICIOUS OBJECT (e.g., package, briefcase, or bundle). The importance of not touching the article cannot be stressed enough. Explosive devices may appear in a recognizable form or may be disguised.

- If you think a package or letter or other item is suspicious and a potential threat, please contact building Security at once (502) 569-5010 and report its location.

- If evacuation is necessary, the same steps as fire evacuation should be taken except that elevators may be used.

DO NOT RE-ENTER THE BUILDING UNTIL YOU ARE TOLD BY BUILDING SERVICES IT IS SAFE TO DO SO.

# CHEMICAL LEAK

If Building Services or building Security is notified of a chemical leak, you will receive instructions on how to respond and whether to move from your workspace.  Please follow all instructions.

If you come into contact with a chemical, or other agent, cover your nose and mouth with a cloth and notify building Security (502) 569-5010.  If you can discern the source of the leak move away from it to a safe area.

# CIVIL DISTURBANCE

We shall rely on the Police and local governing agencies to recommend what protective action should be taken during a local civil disturbance in or around our premises.  Actions recommended by the authorities will be communicated to all occupants.

Should aid be needed in deciding any action to be taken in a major or minor emergency, please contact building Security (502) 569-5010.

# EARTHQUAKES

Earthquake conditions such as term, duration, or severity cannot be expected.  Because of this unpredictability, minor shock may be followed by a severe disturbance or vice versa.

1.	If indoors, stay indoors:

a.	Take cover under a heavy desk, table, or bench, in doorways, halls, or against inside walls.

b.	Stay away from windows.

c.	Do not stand under light fixtures or any object that may fall.

d.	Do not use elevators. Power may fail.

e.	Do not dash for exits. Stairways may be broken or jammed with people.

f.	Do not light matches or cigarette lighters because of possible gas leakage.

2.	If outdoors, stay outdoors, however:

a.	Move away from buildings and utility wires.

b.	Stay in one area.

3.	If in a moving car, pull over and stop. Set your parking brake. Stay in vehicle. After tremors stop, drive on, however, watch for hazards such as fallen debris, downed electrical wires, or undermined roadways.

If the earthquake is moderate to severe, all elevators will be shut down until the elevator contractor has checked mechanical and safety features. You will be notified over the building Emergency Notification System as to the extent of damage, if any, and the recommended actions to follow.

DO NOT EVACUATE YOUR FLOOR UNTIL YOU ARE TOLD BY BUILDING SERVICES IT IS SAFE TO DO SO.

# ELEVATORS

If an emergency arises when you are on the elevators:

1.	Remain calm.

2.	Press the yellow emergency call button inside the elevator car for direct communication and connection to the elevator company 24/7/365.

  - Try to calm other passengers until help arrives.

# EVACUATION

Any time an alarm sounds everyone must evacuate the building and proceed to the nearest stairway or emergency exit and move away from the building.

Our plan is for employees to exit the building, as instructed by safety monitors or building staff, progress to, and congregate at designated areas on the first floor of the Witherspoon Garage for roll call by safety monitors or Building Services.

If you are not on your floor when an alarm sounds, exit through the nearest stairway exit or emergency exit.

When exiting down stairways, move quickly and quietly. This will help in keeping traffic moving swiftly so that personnel from the upper floors can evacuate sooner.

NOTE:  Persons with disabilities who require assistance exiting the building should make their way to the nearest stairway exit for aid by fellow employees or Fire Department personnel.

# FIRE ALARM

Manual fire alarm pull boxes are found throughout the building near exits. These alarms, when activated, will alert the building of a fire emergency. A fire alarm will also be activated if there is smoke detection in the air-conditioning system or flow in the sprinkler system. Should an alarm be activated, the following will occur:

- If you see or smell a fire, pull the nearest fire alarm pull station.

- The alarm speaker will sound an alert tone for 30 seconds. At the end of that time, a prerecorded digital voice message will be sent out for four complete rounds. At the end of the four rounds, the alert tone will resound for one minute, alternating with the alert message. The Fire Department can override this by silencing the signals.

If evacuation of the area is necessary, follow instructions given via the recorded message. If you do not hear instructions in a message:

- Leave your work area at once and go to the nearest stairway exit or emergency exit.

- Stay low and crawl if you are caught in smoke or heat.

- Do not use the elevators.

If you are trapped in an office or closed room, call building Security for help (502) 569-5010.

Do not re-enter the building until you have been notified by Building Services that there is no further danger.

Unless you are told otherwise, you must consider any alarm that you hear as signaling a real emergency. If a drill, you will be notified over the Emergency Notification System.

# FIRE EVACUATION

Elevators will not run during a fire emergency. Proceed to the nearest stairway exit or emergency exit to leave the building and walk to your assigned meeting area inside the Witherspoon Garage on the first floor for roll call by safety monitors or Building Services; columns inside the Presbyterian section of the garage are marked by floor (see next page for designated meeting areas). Do not re-enter the building until you have been notified that there is no further danger.

NOTE:  Persons with disabilities who require assistance exiting the building should make their way to the nearest stairway exit for aid by fellow employees or Fire Department personnel.

# FIRE EXTINGUISHERS

Marked cabinets that have fire extinguishers are found throughout the building.

To use an extinguisher:

1.	Pull the safety pin.

2.	Aim extinguisher nozzle at the base of the fire.

3.	Squeeze or press the handle.

4.	Sweep from side to side at the base of the fire (use short bursts) until the fire is extinguished.

# FIRE PROCEDURES

IN THE EVENT OF A FIRE:

1.	Activate manual pull station by the closest emergency exit.

2.	Dial 911.

3.	Proceed to the nearest stairway or emergency exit to leave the building.

# INJURIES/ACCIDENTS/MEDICAL AID

Should any injuries or accidents occur in or around our premises, or if medical attention is needed, dial 911, and supply pertinent information to the 911 operator. When you can, notify building Security (502) 569-5010.

If there are others in the area, and if needed, inform them that there is a first aid cabinet in the Building Services offices and ask them to obtain any needed first aid supplies. There is also a grab and go trauma bag in the security office.

If needed, send someone to the elevator lobby to get the Automated External Defibrillator (AED). Grab all the items in the cabinet and take them back with you.

Building Services staff will be standing by with the use of the freight/service elevator or lobby passenger elevators to aid in transporting the medical team to the proper area, as well as assist in speeding up the medical team’s departure from the building.

# POWER FAILURE

If a power failure:

1.  	Emergency lights will be activated by the emergency generators within 45 seconds supplying emergency lighting around public corridors and in stairways to help building occupants exit the building. Elevator service will be inoperative.

- Building Services will report the cause and approximate length of power failure to building occupants as soon as possible.

- An emergency power fail phone is available in the security office for use (568-9033).

# SEVERE WEATHER CONDITIONS

When a (Tornado) WARNING for the Louisville, Jefferson County, Kentucky area has been issued, an announcement will be made through the building (Emergency Notification System.  Employees should move to Recommended Areas of Safety.  Once the WARNING has been lifted, a second announcement will be made through the building Emergency Notification System.

Recommended Areas of Safety:

- Floors Six, Five, and Four (in that order):  Persons go to the lower level via the exit stairways.  (Do not exit through doors that lead out onto the street but continue down to the lower level.)

Persons with disabilities who require assistance can remain in the restrooms or kitchens with a person assigned to them.  If it is physically possible and time allows, they can start descending to the lower level once the upper floors have emptied.

- Floors 3 East, 3 West, Mezzanine, 2 East, 2 West, 1 East, and 1 West:

Persons are to remain on their floors and go to either -

Interior building offices that are not in the path of an exterior building window.  Once inside the office, get down on the floor and cover your head.

- OR -

Workstations away from exterior building windows.  Once inside the workstation, get down on the floor, and if possible, under work surfaces covering your head as much as possible.

Restrooms, kitchens, atrium (along the west wall behind the security office, down midway, away from entrance windows), floor conference rooms that do not have windows, and hallways not in the path of windows.

- Lower Level:  Persons are to remain in the lower level.

# SEVERE WEATHER PROCEDURES

Before and after regular business hours, should the President of A CORP decide to suspend building operations, Building Services will contact agencies and tenants.

If conditions call for, a decision to suspend building operations will be made the night before a regular workday or no later than 6:00 a.m. on the morning of work.

Employees will be able to call the Center's Employee Information Line at (502) 569-8000 or check the Employee Emergency Information web site at http://www.pcusa.org/emergency/ for closing information. The message will be updated no later than 6:00 a.m. on a workday.

Public Service Announcements will be made on WAVE-3, WHAS-TV 11, 84 WHAS Radio, and 97FM WAMZ. We will be listed under the heading: Presbyterian Center/Louisville.

One of the three messages will be communicated. The messages are highlighted below with explanations.

- SUSPENDED - Only essential personnel are required to work. Essential personnel will be decided by the agencies.

- DELAYED - The building is open but operating with a 2-hour delay, employees are not to attempt to enter the building before the delayed opening to allow time for safe clearing of the outside walkways, or other conditions that is the reason for the delay. Please remember that a 2-hour delay also means employees can arrive up to 2 hours after their normal start time without penalty. Employees will be paid for a full day.

- CLOSED - The building is closed due to extreme emergency situations.

Closing the building during regular business hours due to severe weather will be handled by notification sent through Postmaster staff email, supervisors, and/or safety monitors. If you have any questions, contact building Security (502) 569-5010.

# WORKPLACE VIOLENCE/WEAPONS IN THE WORKPLACE

As stated in the Presbyterian Church (U.S.A.) Employee Handbook, the employer is committed to preventing workplace violence and to maintaining a safe work environment. Given the increasing violence in society in general, the following guidelines deal with intimidation, harassment, or other threats of (or actual) violence that may occur during work hours or on premises.

- All employees, including supervisors and temporary staff members, should be always treated with courtesy and respect. Employees are expected to refrain from fighting, “horseplay,” or other conduct that may be dangerous to themselves or others.

- Firearms, weapons, and other dangerous or hazardous devices or substances are prohibited from the building.

- Conduct that threatens, intimidates, or coerces another employee at any time, including off-duty periods, will not be tolerated. This prohibition includes all acts of harassment, including harassment that is based on an individual’s sex, race, age, or any characteristic that is protected by the Employee Handbook or by federal, state, or local law. All threats of (or actual) violence, both direct and indirect, should be reported as soon as possible to your immediate supervisor, Building Services, or the Human Resources Department. This includes threats by employees, as well as threats by customers, vendors, solicitors, or visitors. When reporting a threat of violence, you should be as specific and detailed as possible. The employer will promptly and thoroughly investigate all reports of threats of (or actual) violence.

- All suspicious individuals or activities should also be reported as soon as possible to a supervisor and Building Services.

Anyone found to be responsible for threats of (or actual) violence or other conduct that is in violation of the provisions of the Employee Handbook will be subject to prompt disciplinary action, up to and including termination of employment.

# CONCLUSION

Generally, in an emergency, Building Services will be able to advise you (through the building Emergency Notification System or Postmaster staff email) as to what actions you should take. However, some emergencies will require you to evacuate on your own. Take time to review your area's evacuation plan posted in kitchen areas on the west side of the building, and near restroom areas on the east side of the building. Your knowledge of safety procedures will enable you to take part in keeping our building safe.

To ensure that all building occupants are familiar with emergency procedures outlined within this manual, the Presbyterian Center will conduct periodic drills in cooperation with local agencies. These drills will involve all areas of the building and will help us in the event of a genuine emergency.